## Authorized Labs
Authorized settings include the following:
H - Laboratories certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, that meet requirements to perform high complexity tests.
M - Laboratories certified under the Clinical Laboratory Improvement Amendments of 1988 (CLIA), 42 U.S.C. §263a, that meet requirements to perform moderate complexity tests.
W - Patient care settings operating under a CLIA Certificate of Waiver.

## NAAT Tests
Date EUA Issued or Last Updated | Entity | Diagnostic (Most Recent Letter of Authorization) and Date EUA Original Issue | Attributes3 | Authorized Setting(s)1 | Asymptomatic Testing | Symptomatic Testing | Conditional testing for asymptomatic individuals = repeat testing over a period of days (defined by manufacturer) required for asymptomatic testing use.
2022-08-17 | Detect, Inc. | Detect Covid-19 Test | RT, LAMP, Lateral Flow Strips, Over the Counter (OTC) Home Testing, Serial Screening, Single Target | Home, H, M, W | Conditional | Yes
2022-07-28 | Lucira Health, Inc. | Lucira CHECK-IT COVID-19 Test Kit | RT, LAMP, Over the Counter (OTC) Home Testing, Screening, Multiple Targets | Home, H, M, W | Conditional | Yes
2022-04-29 | Cue Health Inc. | Cue COVID-19 Test for Home and Over The Counter (OTC) Use | RT, Isothermal amplification, Over the Counter (OTC) Home Testing, Screening, Single Target | Home, H, M, W | Conditional | Yes
2022-05-10 | Cepheid | Xpert Xpress CoV-2 plus | Real-time RT-PCR, Screening, Multiple Targets | H, M, W | Conditional | Yes
2022-03-01 | Cue Health Inc. | Cue COVID-19 Test | RT, Isothermal amplification, Screening, Single Target | H, M, W | Conditional | Yes
2022-02-14 | Roche Molecular Systems, Inc. (RMS) | cobas SARS-CoV-2 | Real-time RT-PCR, Pooling, Screening, Multiple Targets | H, M, H-Pooling | Conditional | Yes
2022-07-14 | Becton, Dickinson and Company (BD) | BD SARS-CoV-2 Reagents for BD MAX System | Real-time RT-PCR, Screening, Multiple Targets | H, M | Conditional | Yes
2022-06-28 | Abbott Molecular Inc. | Alinity m SARS-CoV-2 assay | Real-time RT-PCR, Pooling, Screening, Multiple Targets | H, M | Conditional | Yes
2022-09-09 | Uh-Oh Labs Inc. | UOL COVID-19 Test | RT-LAMP, Single Target | H, M, W | No | Yes
2022-08-24 | MicroGEM U.S., Inc. | MicroGEM Sal6830 SARS-CoV-2 Saliva Test | Real-time RT-PCR, Saliva, Multiple Targets | H, M, W | No | Yes
2022-08-17 | Mesa Biotech Inc. | Accula SARS-Cov-2 Test | RT and amplification, Single Target | H, M, W | No | Yes
2022-08-11 | Roche Molecular Systems, Inc. | cobas SARS-CoV-2 & Influenza A/B Nucleic Acid Test for use on the cobas Liat System | Real-time RT-PCR, Multi-analyte, Multiple Targets | H, M, W | No | Yes
2022-08-11 | Roche Molecular Systems | cobas SARS-CoV-2 Nucleic acid test for use on the cobas Liat System (cobas SARS-CoV-2) | Real-time RT-PCR, Screening, Multiple Targets | H, M, W | No | Yes
2022-07-28 | Minute Molecular Diagnostics, Inc. | DASH SARS-CoV-2/S Test | Real-time RT-PCR, Multiple Targets | H, M, W | No | Yes
2022-07-22 | Visby Medical, Inc. | Visby Medical COVID-19 Point of Care Test | RT-PCR, Single Target | H, M, W | No | Yes
2022-06-01 | DxLab Inc. | DxLab COVID-19 Test | RT-LAMP, Serial Screening, Multiple Targets | H, M, W | No | Yes
2022-05-06 | Abbott Diagnostics Scarborough, Inc. | ID NOW COVID-19 2.0 | RT, Isothermal amplification, Single Target | H, M, W | No | Yes
2022-04-26 | Cepheid | Xpert Xpress SARS-CoV-2 test | Real-time RT-PCR, Multiple Targets | H, M, W | No | Yes
2022-04-26 | BioFire Diagnostics, LLC | BioFire Respiratory Panel 2.1-EZ (RP2.1-EZ) | RT, Nested multiplex PCR, Multi-analyte, Multiple Targets | H, M, W | No | Yes
2021-10-20 | Cepheid | Xpert Xpress CoV-2/Flu/RSV plus 09/10/2021 | Real-time RT-PCR, Multi-analyte, Multiple Targets | H, M, W | No | Yes
2021-08-27 | Abbott Diagnostics Scarborough, Inc. | ID NOW COVID-19 | RT, Isothermal amplification, Single Target | H, M, W | No | Yes
2021-01-27 | Cepheid | Xpert Xpress SARS-CoV-2/Flu/RSV | Real-time RT-PCR, Multi-analyte, Multiple Targets | H, M, W | No | Yes
2020-12-23 | Cepheid | Xpert Xpress SARS-CoV-2 DoD | Real-time RT-PCR, Pooling, Multiple Targets | H, M, W | No | Yes
2022-09-13 | Rheonix, Inc. | Rheonix COVID-19 MDx Assay | RT-PCR, Home Collection, Saliva, Single Target | H, M | No | Yes
2022-07-21 | Meridian Bioscience, Inc. | Revogene SARS-CoV-2 | Real time RT-PCR, Single Target | H, M | No | Yes
2022-06-28 | Abbott Molecular Inc. | Alinity m Resp-4-Plex | Real-time RT-PCR, Multi-analyte, Multiple Targets | H, M | No | Yes
2022-06-14 | Roche Molecular Systems, Inc. | cobas SARS-CoV-2 Duo for use on the cobas 6800/8800 Systems | Real-time RT-PCR, Quantitative, Multiple Targets | H, M | No | Yes
2022-05-31 | BioFire Defense, LLC | BioFire COVID-19 Test | RT, Nested multiplex PCR, Pooling, Saliva, Multiple Targets | H, M | No | Yes
2022-05-05 | Quidel Corporation | Solana SARS-CoV-2 Assay | Isothermal Reverse Transcriptase - Helicase-Dependent Amplification (RT-HDA), Single Target | H, M | No | Yes
2022-02-14 | Roche Molecular Systems, Inc. | cobas SARS-CoV-2 & Influenza A/B | Real-time RT-PCR, Multi-analyte, Multiple Targets | H, M | No | Yes
2021-08-31 | Visby Medical, Inc. | Visby Medical COVID-19 | RT-PCR, Pooling, Single Target | H, M | No | Yes
2021-07-29 | QIAGEN GmbH | QIAstat-Dx Respiratory SARS-CoV-2 Panel | Real-time RT-PCR, Multi-analyte, Multiple Targets | H, M | No | Yes
2021-07-28 | GenMark Diagnostics, Inc. | ePlex Respiratory Pathogen Panel 2 | RT-PCR and electrochemical detection, Multi-analyte, Single Target | H, M | No | Yes
2021-07-22 | DiaSorin Molecular LLC | Simplexa COVID-19 Direct assay | Real-time RT-PCR, Multiple Targets | H, M | No | Yes
2021-06-17 | MobileDetect Bio Inc. | MobileDetect Bio BCC19 (MD-Bio BCC19) Test Kit | RT-LAMP, Multiple Targets | H, M | No | Yes
2021-04-23 | NeuMoDx Molecular, Inc. | NeuMoDx Flu A-B/RSV/SARS-CoV-2 Vantage Assay | Real-time RT-PCR, Multi-analyte, Single Target | H, M | No | Yes
2021-01-22 | NeuMoDx Molecular, Inc. | NeuMoDx SARS-CoV-2 Assay | RT-PCR, Collection Kit, Saliva, Multiple Targets | H, M | No | Yes
2020-12-28 | T2 Biosystems, Inc. | T2SARS-CoV-2 Panel | RT, amplification, T2 Magnetic resonance, Single Target | H, M | No | Yes
2020-10-28 | Luminex Corporation | ARIES SARS-CoV-2 Assay | RT-PCR, Multiple Targets | H, M | No | Yes
2020-08-18 | GenMark Diagnostics, Inc. | ePlex SARS-CoV-2 Test | RT-PCR and electrochemical detection, Single Target | H, M | No | Yes
2022-07-28 | Lucira Health, Inc. | Lucira COVID-19 All-In-One Test Kit | Prescription Home Testing, Multiple Targets | Home, H, M, W | No | Yes

## Antigen Testing
Date EUA Issued or Last Updated | Entity | Diagnostic (Most Recent Letter of Authorization) and Date EUA Originally Issued | Attributes | Authorized Setting(s)1 | Authorization Documents2 | Asymptomatic Testing | Symptomatic Testing | Conditional testing for asymptomatic individuals = repeat testing over a period of days (defined by manufacturer) required for asymptomatic testing use.
2022-09-02 | ACON Laboratories, Inc | Flowflex COVID-19 Antigen Home Test | Lateral Flow, Visual Read, Over the Counter (OTC) Home Testing, Serial Screening, Single Target | Home, H, M, W | HCP, IFU, IFU (Home Test) | Conditional | Yes
2022-09-02 | Xiamen Boson Biotech Co., Ltd.” | Rapid SARS-CoV-2 Antigen Test Card 04/06/2022 | Lateral Flow, Visual Read, Over the Counter (OTC) Home Testing, Serial Testing, Single Target | Home, H, M, W | HCP, IFU, IFU (Home Test) | Conditional | Yes
2022-08-29 | Access Bio, Inc. | CareStart COVID-19 Antigen Home Test | Lateral Flow, Visual Read, Over the Counter (OTC) Home Testing, Serial Screening, Single Target | Home, H, M, W | HCP, IFU, IFU (Home Test) | Conditional | Yes
2022-08-24 | ANP Technologies, Inc | NIDS COVID-19 Antigen Rapid Test Kit 09/24/2021 | Lateral Flow, Visual Read, Serial Screening, Single Target | H, M, W | HCP, Patients, IFU | Conditional | Yes
2022-08-23 | Genabio Diagnostics Inc. | Genabio COVID-19 Rapid Self-Test Kit | Lateral Flow, Visual Read, Over the Counter (OTC) Home Testing, Serial Screening, Single Target | Home, H, M, W | HCP, IFU, IFU (Home Test) | Conditional | Yes
2022-08-19 | OSANG LLC | OHC COVID-19 Antigen Self Test 04/06/2022 | Lateral Flow, Visual Read, Over the Counter (OTC) Home Testing, Serial Testing, Single Target | Home, H, M, W | HCP, IFU, IFU (Home Test) | Conditional | Yes
2022-08-12 | PHASE Scientific International, Ltd. | INDICAID COVID-19 Rapid Antigen At-Home Test 03/16/2022 | Lateral Flow, Visual Read, Over the Counter (OTC) Home Testing, Serial Screening, Single Target | Home, H, M, W | HCP, IFU, IFU (Home Test) | Conditional | Yes
2022-08-12 | PHASE Scientific International, Ltd. | INDICAID COVID-19 Rapid Antigen Test | Lateral Flow, Visual Read, Serial Screening, Single Target | H, M, W | HCP, Patients, IFU | Conditional | Yes
2022-08-11 | Celltrion USA, Inc. | Celltrion DiaTrust COVID-19 Ag Rapid Test | Lateral Flow, Visual Read, Serial Screening, Multiple Targets | H, M, W | HCP, Patients, IFU | Conditional | Yes
2022-08-10 | GenBody Inc. | GenBody COVID-19 Ag | Lateral Flow, Visual Read, Serial Screening, Single Target | H, M, W | HCP, Patients, IFU | Conditional | Yes
2022-08-05 | Siemens Healthineers | CLINITEST Rapid COVID-19 Antigen Self-Test | Lateral Flow, Visual Read, Over the Counter (OTC) Home Testing, Serial Screening, Single Target | Home, H, M, W | HCP, IFU, IFU (Home Test) | Conditional | Yes
2022-08-03 | OraSure Technologies, Inc. | InteliSwab COVID-19 Rapid Test | Lateral Flow, Visual Read, Over the Counter (OTC) Home Testing, Serial Screening , Single Target | Home, H, M, W | HCP, Individuals, IFU, IFU (Home Test) | Conditional
2022-08-03 | OraSure Technologies, Inc. | InteliSwab COVID-19 Rapid Test Pro | Lateral Flow, Visual Read, Serial Screening , Single Target | H, M, W | HCP, Patients, IFU | Conditional | Yes
2022-07-29 | Qorvo Biotechnologies, LLC. | Omnia SARS-CoV-2 Antigen Test | Bulk Acoustic Wave (BAW) Biosensor, Instrument Read, Serial Screening, Single Target | H, M, W | HCP, Patients, IFU | Conditional | Yes
2022-07-22 | Maxim Biomedical, Inc. | MaximBio ClearDetect COVID-19 Antigen Home Test | Lateral Flow, Visual Read, Over the Counter (OTC) Home Testing, Serial Screening, Single Target | Home, H, M, W | HCP, IFU, IFU (Home Test) | Conditional | Yes
2022-07-21 | LumiraDx UK Ltd. | LumiraDx SARS-CoV-2 Ag Test | Microfluidic Immunofluorescence Assay, Instrument Read, Serial Screening, Single Target | H, M, W | HCP, Patients, IFU | Conditional | Yes
2022-07-21 | Quidel Corporation | QuickVue At-Home OTC COVID-19 Test | Lateral Flow, Visual Read, Over the Counter (OTC) Home Testing, Serial Screening, Single Target | Home, H, M, W | HCP, Individuals, IFU, IFU (Home Test) | Conditional | Yes
2022-07-13 | SD Biosensor, Inc. | Pilot COVID-19 At-Home Test | Lateral Flow, Visual Read, Over the Counter (OTC) Home Testing, Serial Screening, Single Target | Home, H, M, W | HCP, IFU, IFU (Home Test) | Conditional | Yes
2022-07-13 | Ellume Limited | Ellume COVID-19 Home Test | Lateral Flow, Fluorescence, Instrument Read, Over the Counter (OTC) Home Testing, Serial Screening, Single Target | Home, H, M, W | HCP, IFU, IFU (Home Test), FAQ | Conditional | Yes
2022-07-08 | iHealth Labs, Inc. | iHealth COVID-19 Antigen Rapid Test | Lateral Flow, Visual Read, Over the Counter (OTC) Home Testing, Serial Screening, Single Target | Home, H, M, W | HCP, IFU, IFU (Home Test) | Conditional | Yes
2022-07-08 | Watmind USA | Speedy Swab Rapid COVID-19 Antigen Self-Test | Lateral Flow, Visual Read, Over the Counter (OTC) Home Testing, Serial Testing, Single Target | Home, H, M, W | HCP, IFU, IFU (Home Test) | Conditional | Yes
2022-06-29 | InBios International Inc. | SCoV-2 Ag Detect Rapid Self-Test | Lateral Flow, Visual Read, Over the Counter (OTC) Home Testing, Serial Screening, Single Target | Home, H, M, W | HCP, IFU, IFU (Home Test) | Conditional | Yes
2022-06-23 | Celltrion USA, Inc. | Celltrion DiaTrust COVID-19 Ag Home Test | Lateral Flow, Visual Read, Over the Counter (OTC) Home Testing, Serial Screening, Multiple Targets | Home, H, M, W | HCP, IFU, IFU (Home Test) | Conditional | Yes
2022-05-26 | InBios International, Inc. | SCoV-2 Ag Detect Rapid Test | Lateral Flow, Visual Read, Serial Screening, Single Target | H, M, W | HCP, Patients, IFU | Conditional | Yes
2022-05-06 | Abbott Diagnostics Scarborough, Inc. | BinaxNOW COVID-19 Ag Card Home Test | Lateral Flow, Visual Read, Over the Counter (OTC) Home Testing, Telehealth Proctor Supervised, Serial Screening, Single Target | Home, H, M, W | HCP, Individuals, IFU, IFU (Home Test) | Conditional | Yes
2022-05-05 | Abbott Diagnostics Scarborough, Inc. | BinaxNOW COVID-19 Antigen Self Test | Lateral Flow, Visual Read, Over the Counter (OTC) Home Testing, Serial Screening, Single Target | Home, H, M, W | HCP, Individuals, IFU, IFU (Home Test) | Conditional | Yes
2022-03-25 | Becton, Dickinson and Company (BD) | BD Veritor At-Home COVID-19 Test | Lateral Flow, Digital Read, Over the Counter (OTC) Home Testing, Serial Screening, Single Target | Home, H, M, W | HCP, Individuals, IFU, IFU (Home Test) | Conditional | Yes
2022-03-04 | Luminostics, Inc. | Clip COVID Rapid Antigen Test | Lateral flow immunoluminescent assay, instrument read, Single Target | H, M, W | HCP, Patients, IFU | Conditional | Yes
2022-02-04 | Abbott Diagnostics Scarborough, Inc. | BinaxNOW COVID-19 Ag 2 Card | Lateral Flow, Visual Read, Non-prescription Testing, Serial Screening, Single Target | H, M, W | HCP, Patients, IFU | Conditional | Yes
2022-02-01 | Nano-Ditech Corp. | Nano-Check COVID-19 Antigen Test | Lateral Flow, Visual Read, Serial Screening, Single Target | H, M, W | HCP, Patients, IFU | Conditional | Yes
2022-01-14 | iHealth Labs, Inc. | iHealth COVID-19 Antigen Rapid Test Pro | Lateral Flow, Visual Read, Serial Screening, Single Target | H, M, W | HCP, Patients, IFU | Conditional | Yes
2021-12-10 | Becton, Dickinson and Company (BD) | BD Veritor System for Rapid Detection of SARS-CoV-2 | Chromatographic Digital Immunoassay, Instrument Read, Serial Screening, Single Target | H, M, W | HCP, Patients, IFU | Conditional | Yes
2021-12-02 | Access Bio, Inc. | CareStart COVID-19 Antigen test | Lateral Flow, Visual Read, Serial Screening, Single Target | H, M, W | HCP, Patients, IFU | Conditional | Yes
2021-11-09 | Quidel Corporation | QuickVue SARS Antigen Test | Lateral Flow, Visual Read, Serial Screening, Single Target | H, M, W | HCP, Patients, IFU | Conditional | Yes
2021-06-11 | Quidel Corporation | Sofia SARS Antigen FIA | Lateral Flow, Fluorescence, Instrument Read, Serial Screening, Single Target | H, M, W | HCP, Patients, IFU | Conditional | Yes
2022-08-03 | OraSure Technologies, Inc. | InteliSwab COVID-19 Rapid Test Rx | Lateral Flow, Visual Read, Prescription Home Testing, Single Target | Home, H, M, W | HCP, IFU, IFU (Home Test) | No | Yes
2022-06-09 | Salofa Oy | Sienna-Clarity COVID-19 Antigen Rapid Test Cassette | Lateral Flow, Visual Read, Single Target | H, M, W | HCP, Patients, IFU | No | Yes
2022-05-27 | QIAGEN GmbH | QIAreach SARS-CoV-2 Antigen | Digital Lateral Flow, Fluorescence, Instrument Read, Single Target | H, M | HCP, Patients, IFU | No | Yes
2022-05-24 | Siemens Healthcare Diagnostics, Inc. | Atellica IM SARS-CoV-2 Antigen (CoV2Ag) | CLIA, Single Target | H, M | HCP, Patients, IFU | No | Yes
2022-05-24 | Siemens Healthcare Diagnostics, Inc. | ADVIA Centaur SARS-CoV-2 Antigen (CoV2Ag) | CLIA, Single Target | H, M | HCP, Patients, IFU | No | Yes
2022-05-04 | Oceanit Foundry LLC | ASSURE-100 Rapid COVID-19 Test | Lateral Flow, Visual Read, Single Target | H, M, W | HCP, Patients, IFU | No | Yes
2022-02-16 | DiaSorin, Inc. | LIAISON SARS-CoV-2 Ag | CLIA, Single Target | H, M | HCP, Patients, IFU | No | Yes
2022-02-04 | Abbott Diagnostics Scarborough, Inc. | BinaxNOW COVID-19 Ag Card | Lateral Flow, Visual Read, Single Target | H, M, W | HCP, Patients, IFU | No | Yes
2021-11-16 | Ortho Clinical Diagnostics, Inc. | VITROS Immunodiagnostic Products SARS-CoV-2 Antigen Reagent Pack | Chemiluminescence Immunoassay, Instrument Read, Single Target | H, M | HCP, Patients, IFU | No | Yes
2021-10-27 | Princeton BioMeditech Corp. | Status COVID-19/Flu A&B | Lateral Flow, Visual Read, Multi-analyte, Single Target | H, M, W | HCP, Patients, IFU | No | Yes
2021-10-12 | Xtrava Health | SPERA COVID-19 Ag Test | Lateral Flow, Visual Read, Single Target | H, M, W | HCP, Patients, IFU | No | Yes
2021-07-08 | Ellume Limited | ellume.lab COVID Antigen Test | Lateral Flow, Fluorescence, Instrument Read, Single Target | H, M, W | HCP, Patients, IFU | No | Yes
2021-03-24 | Becton, Dickinson and Company (BD) | BD Veritor System for Rapid Detection of SARS-CoV-2 & Flu A+B | Chromatographic Digital Immunoassay, Instrument Read, Multi-analyte, Single Target | H, M, W | HCP, Patients, IFU Viral Mutation Revision Letter - September 23, 2021 | No | Yes
2021-03-01 | Quidel Corporation | QuickVue At-Home COVID-19 Test | Lateral Flow, Visual Read, Prescription Home Testing, Single Target | Home, H, M, W | HCP, Patients, IFU, IFU (Home Test) | No | Yes
2020-10-23 | Celltrion USA, Inc. | Sampinute COVID-19 Antigen MIA | Magnetic Force-assisted Electrochemical Sandwich Immunoassay (MESIA), Single Target | H, M | HCP, Patients, IFU | No | Yes
2020-10-02 | Quidel Corporation | Sofia 2 Flu + SARS Antigen FIA | Lateral Flow, Fluorescence, Instrument Read, Multi-Analyte, Single Target | H, M, W | HCP, Patients, IFU | No | Yes